## Legend
X | Existing certification
--- | No certification
NA | Not applicable
P | Certification pending
US | USA
CA | Canada
UL | UL Listed
RU | UL Recognized
i.A. | In process
n.a. | Not applicable
*1 | No type approval
*2 | No single certification, certification only valid in combination with the burner control unit
*3 | only UVD 1
*4 | only 1 start up
*5 | only IFS110
*6 | only TZI 7,5-20/33R
*7 | No external certification
*8 | NPT threaded versions
*9 | Ansi flanged versions
*10 | only Rp threaded and Din flanged versions
*11 | PED Certifcation (Pressure Equipment Directive)
*12 | GAR (Gas appliance regulation); LVD (Low voltage directive); EMC (Electromagnetic compatibility)
*13 | LVD (Low voltage directive); EMC (Electromagnetic compatibility)
*14 | GAR (Gas appliance regulation); LVD (Low voltage directive); EMC; Atex directive; PED
*15 | GAR (Gas appliance regulation); LVD (Low voltage directive)
*16 | PED Certifcation (Pressure Equipment Directive); Atex directive
*17 | GAR (Gas appliance regulation); PED (Pressure Equipment Directive)
*19 | GAR (Gas appliance regulation); EMC (Electromagnetic compatibility)
*20 | GAR (Gas appliance regulation)
*21 | In process
*22 | Not subject to the RoHS III requirements (ElektroStoffV), but the substance restrictions are adhered to.
*23 | Not subject to the WEEE Directive (ElektroG), but the substance restrictions are adhered to.
*24 | Solder tin is not Lead free RoHS Compliant (expemption RoHS anex III 7a)
*25 | Only .0234, .0324, .0634, .1124, .4401, .5064, until 25.11.2019
*26 | Only .basic 0101/1001, .basic 0201, .basic SD1, .0201, .0321, .SG2, .SG3, until 25.11.2019
*27 | Only .5064, .IO 5064, until 25.11.2019
*28 | Conformity (RoHS/ WEEE) is not finial clarified.
*29 | Contains materials of the REACH list (all customers are informed).
*30 | Contains slight amounts of silicone <0,1%
*31 | Instead of 24VDC - 20VDC; 120VAC -106VDC; 230VAC-206VDC
*32 | LABS (Lackbenetzungsstörende Substanzen); PWIS (Paint-Wetting Impairment Substances)
*33 | PED Certifcation (Pressure Equipment Directive) for sizes ≥ 32
*34 | UL/RU approval also for the Canadian market C-UL
*35 | Possible: | May be possible of firing a % of Hydrogen with burner modification upon application review with testing.
*36 | Ready: | Capable of firing a % Hydrogen with no modification.
*37 | Not Capable: | No capable
*38 | Capable: | Able to fire a % of Hydrogen with slight modification with application review
*39 | The leakage rates according to EN 13611:2019 are complied with if the H2 admixture is less than 10%. In an application with 100% H2 or an admixture of H2 greater than 10%, compliance with leakage rates according to EN 13611:2019 cannot be guaranteed due to the lower density and the changed dynamic viscosity of hydrogen. The suitability of the application for operation with natural gas-hydrogen mixtures with a content ≥ 10% hydrogen has to be determined with a risk assessment.
*40
*41 | FM 7400
*42 | FM 3600
*43 | FM 3611
*44 | FM 3810
*45 | EAC [EX]
*46 | MA & MM; SOV, Standard body; 075-300; Class 1
*47 | MA & MM; SOV, CP body; 250-400; Class 1
*48 | MM; Vent valves, Standard body; 075-200
*49 | MA; Vent valves, Standard body 075-200 & CP body 300 & 400 only
*50 | Excludes all MM; 600 configurations
*51 | MM11; 400H & 600H
*52 | Alberta, Britsh Columbia, Manitoba, New Brunswick, Newfoundland and Labrador, Northwest Territories, Nova Scotia, Nunavut, Ontario, Prince Edwards Island, Quebec, Saskatchewan, and Yukon
*53 | MM configurations only
*54 | 8**2 Primary voltage = H; T5 @ -50°C<Ta<50°C
*55 | 8**2 Primary voltage ≠ H (not H); T4 @ -50°C<Ta<60°C
*56 | 8**3 Primary voltage = J; T5 @ -50°C<Ta<60°C
*57 | 8**3 Primary voltage = Z; T5 @ -50°C<Ta<50°C; " Z " external intrinsically safe solenoid provided by end user
*58 | Additional ratings or restrictions, may vary by configuration
*59
*60
*61
*62
*63
*64
*65
*66
*67
*68
*69
*70
*71
*72
*73
*74
*75
*76
*77
*78
*79
*80
*81
*82
*83
*84
*85
*86
*87
*88
*89

## 2022_10 Version
Worldwide Certification List Edition 2022.11
[56 empty] | WEEE |  | China RoHS
1907/2006
| Remark | Size / Remark | [8 empty] | US |  | CA |  |  |  | US | [15 empty] | SIRA CSAE |  |  |  |  | QAN | [15 empty] | (ElektroStoffV) |  |  |  |  | Free of: LABS PWIS *32 | 100% H2 Vol%*39 | 50% H2 Vol%*39 | 30% H2 Vol%*39 | 10% H2 Vol%
[53 empty] | Conformity | Conformity | Category | Conformity | Category
1. Gas Filters & Ball Valves | [5 empty] | Expiry date |  |  |  | Expiry date | [12 empty] | Expiry date
AKT | Manual valves | DN6-250 |  | X*17 |  | 04.2028 | pending |  |  | ??? |  | DN10-50*8 |  |  | --- |  |  | DN10-50*8 |  | X |  |  | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | --- |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
TAS | Thermal equipment trips | DN6-250 |  | X*17 |  | 04.2028 | pending |  |  | ??? |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2019-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | --- |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
GFK | Gas filter | DN15-250 |  | X*17 |  | 04.2028 | X |  |  | 04.02.2032 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes *30 | Yes | Yes | Yes | Yes
2. Pressure Regulators | [5 empty] | Expiry date |  |  |  | Expiry date | [12 empty] | Expiry date
J78R | Pressure regulator for gas | DN15 | X*10; X*20 |  |  | 04.2028 | X |  |  | 04.05.2024 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes *22 | n.a. | --- | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
GDJ | Pressure regulator for gas | DN15-50 | X*10; X*20 |  |  | 04.2028 | X |  |  | 04.05.2024 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
VGBF | Pressure regulator for gas | DN15-150 | X*10; X*20; X*17 |  |  | 04.2028 | X |  |  | 18.04.2028 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
JSAV | Safety shutt-off valves | DN25-100 | X*10; X*20; X*17 |  |  | 04.2028 | X |  |  | 18.04.2028 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-07-23 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | X *21 | Yes | Yes | Yes | Yes
VSBV | Safet relief valve | DN25 | X*10; X*20; X*17 |  |  | 04.2028 | X |  |  | 19.02.2028 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-07-23 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
VAR | Circulation pressure control | DN25-100 | --- |  |  | --- | X |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
GIK, GIK..B | Air/Gas Ratio control | DN15-150 | X*10; X*20 |  |  | 04.2028 | X |  |  | 04.05.2024 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
GIKH | Variable air/gas ratio control | DN25 | X*10; X*20 |  |  | 04.2028 | X |  |  | 04.05.2024 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
J78R 1-L | Pressure regulator for air | DN15 | --- |  |  | --- | NA |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Not applicable: Jeavons |  |  |  |  | n.a. | --- | n.a. | n.a. | n.a. | n.a.
GDJ L | Pressure regulator for air | DN15-50 | --- |  |  | --- | NA |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | n.a. | n.a. | n.a. | n.a.
VGBF V | Gas pressure regulator "Viton Version" | DN40-150 | --- |  |  | --- | NA |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
GIK..L, GIKB..L | Ratio control for air | DN15-150 | --- |  |  | --- | NA |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | n.a. | n.a. | n.a. | n.a.
3. Valves & Butterfly valves |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  |  |  | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | [22 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date
VAS 1 … 3 | Solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VAS 6 … 9 | Solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 06.12.2031 | X | X | X | X | X | X | --- | X*9 | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VCS 1 … 3 | Double solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VCS 6 … 9 | Double solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 06.12.2031 | X | X | X | X | X | X | --- | --- | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VAD 1 … 3 | ValVario-D-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VAG 1 … 3 | ValVario-G-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VAH 1 … 3 | ValVario-H-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VRH 1 … 3 | ValVario-H-Regulator w/o ssov | 1-3 | X*20 |  |  | 04.2028 | X |  |  | 04.02.2032 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VAV 1 … 3 | ValVario-V-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | --- | --- | --- | X | X | X | --- | X*8 | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VBY | Bypass valve | DN8 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 04.02.2032 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VMV | ValVario fine adjusting valve | DN10-50 |  | X*20 |  | 04.2028 | X |  |  | 04.02.2032 | --- |  |  | --- |  |  | --- |  |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VMO | ValVario orifice | DN10-50 |  | X*20 |  | 04.2028 | X |  |  | 04.02.2032 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VMF | ValVario filter | DN10-50 | X*20 |  |  | 04.2028 | X |  |  | 04.02.2032 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VGP | Solenoid gas valve | DN10-25 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 06.12.2031 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | X | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VG small | Solenoid gas valve | DN6-15/10 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 06.12.2031 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VG | Solenoid gas valve | DN10/15-65 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 06.12.2031 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VAN | Solenoid normally open valve | 1-2 | X*19 | X*12 | X*12 | 04.2028 | X |  |  | 06.12.2031 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VK | Motorized gas valve | DN40-250 | --- | 110V X*14 | 220V X*14 | 04.2028 | X |  |  | 06.12.2031 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 110V | 220V | 2024-03-16 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | -- | 110V | 220V | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
TC 1 | Tightness Control | --- | X*19 | X*12 | X*12 | 04.2028 | pending 01.11.2022 |  |  | ??? | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
TC 2 | Tightness Control | --- | X*19 | X*12 | X*12 | 04.2028 | pending 01.11.2022 |  |  | ??? | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
TC 3 | Tightness Control | --- | X*19 | X*12 | X*12 | 04.2028 | pending 01.11.2022 |  |  | ??? | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
TC 410 | Tightness Control | All | --- | --- | --- | --- | --- |  |  | --- | -- | -- | -- | X | X | X | -- | X | -- | X | X | X | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | -- | -- | -- | -- | -- | -- | --- | Yes | Yes | 9 | Yes | 5 - B2B | --- | Yes | not applicable
BVG, BVGF | Butterfly valve for gas | DN40-150 | X*20 |  |  | 04.2028 | X |  |  | 06.12.2031 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | Yes | Yes | Yes | Yes
BVA, BVAF | Butterfly valve for air | DN40-150 | X |  |  | 04.2028 | X |  |  | 06.12.2031 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | n.a. | n.a. | n.a. | n.a.
BVH, BVHS, BVHR | Butterfly valve for hot air | DN40-100 |  | --- |  | --- | NA |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-07-29 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | n.a. | n.a. | n.a. | n.a.
IC20 | Actuator | --- | --- | X*13 | X*13 | 04.2028 | NA |  |  | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
IC30 | Actuator | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | 2025-06-25 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
IC40 | Actuator | --- | --- | X*13 | X*13 | 04.2028 | NA |  |  | --- | --- | X | X | --- | --- | --- | --- | X | --- | --- | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
IC50 | Actuator | --- | X(AC)*13 | X*13 | X*13 | 04.2028 | NA |  |  | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | X(AC) | X | X | 2025-06-25 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
MB7 | Solenoid actuator for BVHM | --- | --- | --- | --- | --- | NA |  |  | --- | --- | X | --- | --- | --- | -- | --- | --- | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
BVHM | Butterfly valve for MB 7 | DN40-100 | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | --- | --- | -- | --- | --- | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
DKR | Butterfly valve for hot air | DN15-500 | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X |  |  | 2024-07-29 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
VFC | Flow control | 1 - 3 | X |  |  | 04.2028 | X |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- |  |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
VAA | Solenoid valves for air | DN20-65 | --- | --- | --- | --- | X |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
VE4000 | Single solenoid gas valve |  | --- | X*12 | X | 04.2028 | X |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | X | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
V4295/V8295 | Single solenoid gas valve |  | --- | --- | --- | --- | --- |  |  | --- | X | X | --- | --- | --- | --- | --- | --- | --- | - | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
VQ400 | Double solenoid gas valve |  | --- | X*12 | X*12 | 04.2028 | X |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | X | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
VR4xx | Regulated combination gas valve |  | X*12 | X*12 | X*12 | 04.2028 | X |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | X | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VR4xx + VMU (air/gas ratio) | Regulated combination gas valve |  | X*12 | X*12 | X*12 | 04.2028 | X |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | X | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VRBseries | Regulated combination gas valve |  | --- | X*12 | X*12 | 04.2028 | X |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | X | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V4730 | Regulated combination gas valve |  | --- | --- | --- | --- | X |  |  |  | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | ----- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V4730 + VMU (air/gas ratio) | Regulated combination gas valve |  | --- | --- | --- | --- | NA |  |  | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V8730 | Regulated combination gas valve |  | --- | --- | --- | --- | --- |  |  | --- | 24VAC | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V8730 + VMU (air/gas ratio) | Regulated combination gas valve |  | --- | --- | --- | --- | --- |  |  | --- | 24VAC | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
8x11 & 8x21 Series | General Purpose - Pneumatic Gas Valve |  | X *58 | X *58 | X *58 | 2028-01-12 | X *58 | X *58 | X *58 | 2028-01-12 | X *58 | X *58 | X *58 | X*41 | X*41 | X*41 | --- | --- | --- | X | X | X | 2026-06-21 | X*58 | X*58 | X*58 | X*52 | 2023-03-21 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | 2026-03-17 | --- | --- | --- | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | 2024-01-01 | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
8xx2-xxxx-Hxxx Series (I.S.Coil) | Class 1 Div. 2 Pneumatic Gas Valve |  | --- | --- | --- | --- | X *58 | X *58 | X *58 | 2028-01-12 | X*54, *58 | --- | --- | X*41,*42,*43,*44 | X*41,*42,*43,*44 | X*41,*42,*43,*44 | --- | --- | --- | X | X | X | 2026-06-21 | X*58 | X*58 | X*58 | X*52 | 2023-03-21 | X*58 | X*58 | X*58 | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | 2026-03-17 | --- | --- | --- | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | 2024-01-01 | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
8xx2-xxxx-(≠H)xxx Series (Std. Coil) | Class 1 Div. 2 Pneumatic Gas Valve |  | --- | --- | --- | --- | X *58 | X *58 | X *58 | 2028-01-12 | X*55, *58 | X*55, *58 | X*55, *58 | X*41,*42,*43,*44 | X*41,*42,*43,*44 | X*41,*42,*43,*44 | --- | --- | --- | X | X | X | 2026-06-21 | X*58 | X*58 | X*58 | X*52 | 2023-03-21 | X*58 | X*58 | X*58 | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | 2026-03-17 | --- | --- | --- | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | 2024-01-01 | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
8xx3-xxxx- (J or Z)xxx Series | Class 1 Div. 1 Pneumatic Gas Valve |  | --- | --- | --- | --- | --- | --- | --- | --- | X*56, *57, *58 | X *57, *58 | X *57, *58 | X*41,*42,*43,*44 | X*41,*42,*43,*44 | X*41,*42,*43,*44 | --- | --- | --- | X*45 | X*45 | X*45 | 2026-06-21 | X*58 | X*58 | X*58 | X*52 | 2023-03-21 | X*58 | --- | --- | X*58 | --- | --- | X*58 | --- | --- | 2022-08-01 | X*58 | X*58 | X*58 | 2026-03-17 | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | 2024-01-01 | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
A-Style | Butterfly valve for gas |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
BV Style | Butterfly valve for gas |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
MA11/21 & MM 11/21 Series | General Purpose - Electr Mechanical Gas Valve |  | X*58 | X*58 | X*58 | 2028-02-06 | X*58 | X*58 | X*58 | 2028-02-06 | X *58 | X *58 | X *58 | X *58 | X*41, *58 | X*41, *58 | X*58 | X*58 | X*58 | --- | --- | --- | --- | --- | --- | --- | X*52 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | 2026-03-27 | X*58 | X*58 | X*58 | X*46, *47, *48, *49, *50, *51 | X*46, *47, *48, *49, *50, *51 | X*46, *47, *48, *49, *50, *51 | X*58 | X*58 | X*58 | 2024-01-01 | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
MA 12/22 & MM12/22 Series | Class 1 Div. 2 - Electr Mechanical Gas Valve |  | --- | --- | --- | --- | --- | --- | --- | --- | X *58 | X *58 | X *58 | X *58 | X*41,*42,*43,*44, *58 | X*41,*42,*43,*44, *58 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X*52 | --- | X*58 | X*58 | X*58 | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | 2026-03-27 | X*58 | X*58 | X*58 | X*46, *47, *48, *49, *50 | X*46, *47, *48, *49, *50 | X*46, *47, *48, *49, *50 | X*58 | X*58 | X*58 | 2024-01-01 | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
SMARTLINK CV | Butterfly valve and actuator for gas |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X*58 | --- | --- | X*58 | --- | --- | X*58 | X*58 | X*58 | 2026-07-08 | --- | --- | --- | X*52 | 2027-09-18 | X*58 | --- | --- | --- | --- | --- | X*58 | --- | --- | 2022-08-01 | --- | --- | --- | --- | X*58 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
SMARTLINK DS | Butterfly valve and actuator for gas |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X*58 | X*58 | X*58 | X*58 | X*58 | X*58 | 2026-12-02 | --- | --- | --- | X*52 | 2027-09-18 | X*58 | X*58 | --- | --- | --- | --- | X*58 | X*58 | X*58 | 2022-08-01 | X*58 | X*58 | X*58 | 2026-03-17 | X*58 | X*58 | X*58 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
SMARTLINK MRV | Butterfly valve and actuator for gas |  | X*58 | X*58 | X*58 | 2028-02-06 | X*58 | X*58 | X*58 | 2028-02-06 | --- | --- | --- | X*58 | --- | --- | X*58 | --- | --- | X*58 | X*58 | X*58 | 2026-07-08 | --- | --- | --- | X*52 | 2027-09-18 | --- | --- | --- | --- | --- | --- | X*58 | --- | --- | 2022-08-01 | --- | --- | --- | --- | X*58 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
SLATE LTA | Low torque actuator |  | --- | --- | --- | --- | X | X | X | 2028-12-13 | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | NA | NA | NA | NA
4. Pressure Switches |  |  | 24Vdc | 120Vac | 250Vac | Expiry date |  |  |  | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 250Vac | Expiry date | [22 empty] | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 250Vac | Expiry date
DG..U,B,I,H,N | Pressure switches for gas/air | not all AGA | X*15 | X*15 | X*15 | 04.2028 | X |  |  | 09.02.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DG..T,NT,HT | Pressure switches for gas/air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | X | X | X | X*34 | X*34 | X*34 | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DG..C,VC | Pressure switches for gas/air | not all AGA | X*15 | X*15 | X*15 | 04.2028 | X |  |  | 09.02.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | X | X | X | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DG..CT,VCT | Pressure switches for gas/air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | X | X | X | UL/RU*34 | UL/RU*34 | UL/RU*34 | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DL..A,K,E | Pressure switches for air | not all AGA | X*15 | X*15 | X*15 | 04.2028 | X |  |  | 09.02.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | X | X | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
DL..ET | Pressure switches for air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | X | X | X | RU*34 | RU*34 | RU*34 | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
DL..AT,KT | Pressure switches for air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | X | X | X | X | X | X | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
DG..S | Pressure switches for oxygen | O2 + NH3 | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
CPS | Pressure switches for air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
C6097A(B)4.. | Pressure switches for gas/air | --- | X*15 | X*15 | X*15 | 04.2028 | X |  |  | 09.02.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
C6097A(B)3.. | Pressure switches for gas/air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | X | X | X | X*34 | X*34 | X*34 | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
C60VR… | Pressure switches for gas/air | --- | X*15 | X*15 | X*15 | 04.2028 | X |  |  | 09.02.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
C60VRT… | Pressure switches for gas/air | --- | --- | --- | --- | --- | NA |  |  | --- | --- | --- | --- | --- | --- | --- | RU*34 | RU*34 | RU*34 | X | X | X | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
[24 empty] | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | ---
5. Moduline |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  |  |  | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | [22 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date
RV | Control valves | DN32-100 | --- | X*12 | X*12 | 04.2028 | X |  |  | 24.07.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
RVS, RV | Control valves | DN32-100 | --- | X*12 | X*12 | 04.2028 | X |  |  | 24.07.2028 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
6. Electric Flame Monitoring & Contr. Units |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  |  |  | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | [22 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date
FCU 500 (OCU/BCM/BCC)*2 | Protective system control units | --- | NA | x*12 | x*12 | 04.2028 | pending 01.11.2022 |  |  | --- | NA | x | x | NA | x | x | NA | --- | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | --- | --- | NA | x | x | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 460 / 465 / 480 | Burner control unit | --- | NA | x*12 | x*12 | 04.2029 | X |  |  | 02.2032 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | --- | --- | NA | x | x | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 560 / 565 / 580 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.11.2022 |  |  | --- | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | NA | x | x | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
IFD 244 / 258 | Automatic burner control unit | --- | NA | x*12 | x*12 | 04.2028 | X |  |  | 12.2031 | NA | x | x | NA | x | x | NA | --- | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | NA | --- | --- | --- | Yes | Yes *22 | 9 | Yes *23 | 5 - B2B | Yes (10) | --- | not applicable
PFU 760 / 780 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | X |  |  | 02.2032 | NA | --- | --- | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | NA | x | x | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
PFR 704 | Relay module | --- | --- | --- | --- | --- | --- |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
PFP 700 | Power supply | --- | --- | --- | --- | --- | --- |  |  | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | --- | --- | NA | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
PFA 700 / 710 | Fieldbus interface | --- | NA | X*7 | X*7 | --- | --- |  |  | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | --- | --- | NA | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
MPT 700 | Impulse system | --- | --- | --- | --- | --- | --- |  |  | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | --- | --- | NA | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 370 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | X |  |  | 09.2031 | NA | x | x | NA | x | x | NA | UL | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 570 (OCU/BCM/BCC)*2 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.11.2022 |  |  | --- | NA | x | x | NA | x | x | NA | RU | --- | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | NA | x | x | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
RM/EC7800 | Burner control unit | --- | NA | x*12 | x*12 | --- | X |  |  | --- |  | --- |  | NA | x | x | NA | UL | UL | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | NA | x | x | --- | Yes | Yes | --- | --- | --- | --- | --- | not applicable
Sola | Burner control unit | --- | No |  |  | --- | --- |  |  | --- |  | --- |  | NA | x | x | NA | UL | UL | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | --- | --- | --- | not applicable
Slate | Burner control unit | --- | NA | x*12 | x*12 | 12.2028 | X |  |  | --- |  | --- |  | NA | x | x | NA | UL | UL | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- | NA | x | x | --- | Yes | Yes | --- | --- | --- | --- | --- | not applicable
7. Burners | [5 empty] | Expiry date |  |  |  | Expiry date | [12 empty] | Expiry date | [35 empty] | ---
BIO, BIC, BIOW, BICW | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes*29 | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
BIOA, BICA | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ZIO, ZIC, ZIOW, ZICW | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
BIO(W), BIC(W) | With ignition burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes*29 | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ZIO(W), ZIC(W) | With ignition burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes*29 | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
BIC…MB menox | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | NC*37 | Pos*35 | Pos*35 | Rea*36
BICR | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
GLG, GLA, GLH | Haubenbrenner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ECOMAX | Self recuperator burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes*29 | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ECOMAX menox | Self recuperator burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes*29 | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | NC*37 | NC*37 | NC*37 | NC*37
ECOMAX LE | Self recuperator burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes*29 | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Cap*38 | Rea*36 | Rea*36 | Rea*36
ThermJet | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Rea*36 | Rea*36 | Rea*36
Kinemax | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
Beta | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
NMC | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
Wide Range | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Rea*36 | Rea*36
TriOx | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
Furnnox | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
WHG/RKG | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
WHI | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
Uni-Rad (Vilvoorde) | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Rea*36 | Rea*36 | Rea*36
TFB | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
SER | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
TJSR | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
ExtensoHeat | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
PrimeFire FH (Next Gen) | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
OxyTherm 300 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
OxyTherm LE | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
PrimeFire 100 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
OxyTherm FHR | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
PrimeFire 300 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
PrimeFire 400 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
04V | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
BrightFire 200 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
WGD | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
WTPU/WTPUG | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
OxyTherm Titan | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
NP-RG | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Cap*38 | Cap*38 | Cap*38
NP in Box | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Cap*38 | Cap*38 | Cap*38
NP-LE | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
AHMA | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Cap*38 | Cap*38 | Cap*38
LV Airflo | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Cap*38 | Cap*38 | Cap*38
Combustifume | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Cap*38 | Cap*38 | Cap*38
FlueFire | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
HC Airflo | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Rea*36 | Rea*36 | Rea*36
Linoflame | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
AHv1 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
AHv2 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
AHMA-DB | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Cap*38 | Cap*38 | Cap*38
APX | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
CrossFire | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Linnox | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
Minnox | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
RatioStar | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Cap*38 | Cap*38 | Cap*38
RadMax | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Infrawave | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
OvenPak 400 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Cap*38 | Cap*38
OvenPak 500 | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Rea*36 | Rea*36
RatioMatic | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
RatioAir | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Rea*36 | Rea*36 | Rea*36
ThermAir | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Cap*38 | Rea*36 | Rea*36 | Rea*36
ValuPak II | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Cap*38 | Cap*38
UnoPak | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Cap*38 | Cap*38
MegaFire HD | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Cap*38 | Cap*38
Vortometric | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
OvenPak LE | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Winnox | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
M-Pakt | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Optima | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Incini-Cone | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Kinedizer LE | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | Pos*35
Tube-O-Flame | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
ImmersoJet | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Tube-O-Therm | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
XPO | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
StarJet | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
MegaStar | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
NovaStar | Burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | Pos*35
8. Ignition and Monitoring Components |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  |  |  | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | [22 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date
TZI, TGI | Ignition transformer | --- | NA | --- | --- | --- | --- |  |  | --- | NA | x*6 | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | --- | --- | NA | --- | --- | --- | Yes | Yes*24 | 9 | Yes | 5 - B2B | Yes (10) | Yes | not applicable
C7027 | Sensor | --- |  | --- |  | --- | --- |  |  | --- |  | --- |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | Yes | Yes | --- | Yes | --- | --- | --- | Yes | Yes | Yes | Yes
C7061 | Sensor | --- |  | --- |  | --- | --- |  |  | --- |  | --- |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | Yes | Yes | --- | Yes | --- | --- | --- | Yes | Yes | Yes | Yes
C7035 | Sensor | --- |  | --- |  | --- | --- |  |  | --- |  | --- |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | Yes | Yes | --- | Yes | --- | --- | --- | Yes | Yes | Yes | Yes
C7076 | Sensor | --- |  | --- |  | --- | --- |  |  | --- |  | --- |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | --- | Yes | --- | No | --- | --- | --- | Yes | Yes | Yes | Yes
IFM | Sensor for continuous operation | --- |  | --- |  | --- | --- |  |  | --- |  | --- |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
U2-S |  | --- |  | X |  | --- | --- |  |  | --- |  | X |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | --- | Yes | --- | --- | --- | --- | ---
P52X/P53X |  | --- |  | --- |  | --- | --- |  |  | --- | X |  | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | not applicable
S55X |  | --- |  | --- |  | --- | --- |  |  | --- |  | X |  | --- | --- | --- | --- |  | --- | --- | --- | --- | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | --- | --- | --- |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | Yes | Yes
UVS *2 | Sensor | --- | NA | x*12 | x*12 | 04.2028 | --- |  |  | --- | NA | x | x | NA | x | x | NA | x | x | NA | x | x | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | NA | --- | --- | --- | Yes | Yes*22 | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
UVC 1 | Sensor for continuous operation | --- | NA | x*12 | x*12 | 04.2028 | X |  |  | 12.2031 | NA | --- | --- | --- | x | x | NA | RU | RU | NA | --- | --- | 2023-01-24 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  | NA | x | x | --- | x | x | --- | Yes | Yes*22 | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
[24 empty] | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | ---
9. Pilot burners and thermoelectric Devices | [5 empty] | Expiry date |  |  |  | Expiry date | [12 empty] | Expiry date
ZAI | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | NC*37 | Rea*36 | Rea*36 | Rea*36
ZMI (C) | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | NC*37 | Rea*36 | Rea*36 | Rea*36
ZKIH | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ZIO 40 | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ZT 40 | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | NC*37 | Rea*36 | Rea*36 | Rea*36
ZTA | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | NC*37 | Rea*36 | Rea*36 | Rea*36
ZTI | Pilot burner | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
S11T | Control valve | DN15-25 |  | x*12 |  | 04.2028 | pending 01.01.2022 |  |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | --- |  | --- |  |  |  | --- | Yes*22 | 9 | Yes | 5 - B2B | --- | Yes | Yes | Yes | Yes | Yes
[24 empty] | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | ---
11. Accessories | [5 empty] | Expiry date |  |  |  | Expiry date | [12 empty] | Expiry date
KFM | Pressure gauges | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | Yes | Yes | Yes | Yes
RFM | Pressure Gages | All |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | Yes | Yes | Yes | Yes | Yes
GEHV | Flow adjusting cocks | DN40-50 |  | X*11 |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2023-12-26 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
GEH | Flow adjusting cocks | DN32-50 |  | X*11 |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
DH | Manual cock | DN8-15 |  | X |  | 04.2028 | pending |  |  | ??? |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-11-13 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | --- | n.a. | --- | n.a. | --- | Yes | Yes | Yes | Yes | Yes
LEH | Flow adjusting cocks | DN25-50 |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | n.a. | n.a. | n.a. | n.a.
DMG | Electronic pressure gauge | All |  | X+EMC |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 5 - B2B | --- | Yes | Yes | Yes | Yes | Yes
DGM / DWR | Gas Pressure Switch | Atex for ex |  | X |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes | 9 | Yes | 5 - B2B | --- | --- | Yes | Yes | Yes | Yes
EKO | Stainless steel bellows units | DN32-200 |  | X*11 |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | P | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
ES | Stainless steel flexible tubes | DN32-100 |  | X*11 |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | P | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
GRS, GRSF | Non-return gas valves | DN15-80 |  | X*33 |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
DM, DE | Flow meters | DN25-150 |  | X*16 |  | 04.2028 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 | --- |  |  | --- |  | --- |  |  | --- |  |  | --- |  |  |  | --- |  |  |  | --- |  |  |  | NA |  | --- |  |  |  | --- | --- | 9 | --- | 5 - B2B | --- | Yes | No | No | 20% | Yes